# Design and Analysis of a Small-Scale Solar PV Power System

# 1. Scope

Design a solar PV system for a building including:

• Load estimation

• Panel sizing

• Inverter selection

• Battery sizing

# 2. Presentation Content

## 2.1 Solar Resource Assessment

• Location and climate analysis

• Average solar irradiance (kWh/m²/day)

• Peak sun hours (PSH)

• Shading analysis

• Seasonal variations

## 2.2 System Sizing Calculations

• Daily energy requirement (kWh/day)

• PV array sizing (number of panels)

• Battery capacity calculation (kWh)

• Inverter sizing (kW)

• System efficiency considerations

## 2.3 Block Diagram of PV System

Solar Panels → DC Disconnect → Inverter → AC Load

↓

Battery Bank → Charge Controller

## 2.4 Cost Analysis

Initial Capital Cost (CAPEX):

• PV modules, Inverter, Batteries, Mounting structure, Wiring, Installation labor

Operating costs (OPEX), Payback period, ROI, LCOE

# 3. Term Paper Structure

## 3.1 Introduction to Solar Energy

• Global solar energy potential

• Benefits of solar PV systems

• Environmental impact

• Project objectives

## 3.2 Load Estimation

• Building type and characteristics

• Appliance inventory

• Daily load profile, Peak load calculation

Key Equations:

• Total Daily Load (kWh) = Σ (Appliance Power × Hours of Use)

• Peak Load (W) = Sum of all simultaneous loads

## 3.3 System Design Equations

Panel Sizing:

Number of Panels = Daily Energy Requirement / (Panel Output × PSH × System Efficiency)

Battery Sizing:

Battery Capacity (Ah) = (Daily Load × Days of Autonomy) / (DoD × Battery Voltage)

Inverter Sizing:

Inverter Size (W) = Peak Load × Safety Factor (1.25)

## 3.4 Component Selection

• PV module specifications

• Inverter type (string vs. microinverter)

• Battery technology (Li-ion vs. Lead-acid)

## 3.5 Economic Analysis

• Total system cost

• Annual savings calculation

• Payback period = Total Cost / Annual Savings

• LCOE = (Total Lifetime Cost) / (Total Energy Produced)

## 3.6 Conclusion and Recommendations

• System performance summary

• Environmental benefits

• Recommendations for optimization

# Sample Data

| Parameter | Example Value |
| --- | --- |
| Building Type | Residential |
| Daily Load | 10 kWh |
| Peak Load | 2 kW |
| Location | London, UK |
| Average PSH | 3.5 hours |
| System Efficiency | 80% |
| Days of Autonomy | 1 day |
| Battery DoD | 50% |

# Key Formulas Quick Reference

Daily Energy (kWh) = Σ(Power_i × Hours_i)

Panel Count = Daily Load / (Panel_W × PSH × η_sys)

Battery Ah = (Daily Load × Autonomy) / (DoD × Voltage)

Inverter = Peak Load × 1.25

Payback (years) = Total Cost / Annual Savings

LCOE = (CAPEX + OPEX × n) / (Annual Production × n)